## Tags
original_name | normalized_tokens | Generated Tag | systems | object_types | object_standalones | object_specifiers | modifiers | locations | attributes | states | actions | device_classes | signal_roles | signal_types | ambiguous | numeric_values | unknown_tokens | technical_tokens
High level alarm, test | high;level;alarm;test | high_level_alrmTest_DI |  |  |  |  | high |  | level |  |  |  | alarm;test | di
Low level alarm, test | low;level;alarm;test | low_level_alrmTest_DI |  |  |  |  | low |  | level |  |  |  | alarm;test | di
Tripped fuse alarm | tripped;fuse;alarm | Dc_fuse_tripped_alrm_DI | dc | fuse | [5 empty] | tripped |  |  | alarm | di
Night mode switch | night;mode;switch | Lights_night_sw_DI | lights |  |  | night | [5 empty] | switch |  | di | mode
Bilge alarm sail locker | bilge;alarm;sail;locker | Bilge_sail_locker_alrm_DI | bilge | sail |  |  |  | locker |  |  |  |  | alarm | di
Bilge alarm mid ships | bilge;alarm;mid;ships | Bilge_mid_alrm_DI | bilge |  |  |  |  | mid |  |  |  |  | alarm | di | ships
Bilge alarm engine room | bilge;alarm;engineroom | Bilge_er_alrm_DI | bilge |  |  |  |  | engineroom |  |  |  |  | alarm | di
Bilge alarm aft corridor | bilge;alarm;aftward;corridor | Bilge_aftCorridor_alrm_DI | bilge |  |  |  |  | aftward;corridor |  |  |  |  | alarm | di
Bilge alarm lazarette | bilge;alarm;lazarette | Bilge_laz_alrm_DI | bilge |  |  |  |  | lazarette |  |  |  |  | alarm | di
SW deckpump time elapsed | switch;deckpump;time;elapsed | Ac_deckPump_time_sw_DI | ac |  | deckpump |  |  |  | time |  |  | switch |  | di |  |  | elapsed
Main engine alarm | mainengine;alarm | ME_alrm_DI | mainengine | [9 empty] | alarm | di
Pre alarm diesel generator 1 | pre;alarm;diesel;generator1 | Fuel_diesel_gen1_pre_alrm_DI | fuel | generator1 |  | diesel | pre | [5 empty] | alarm | di
Pre alarm diesel generator 2 | pre;alarm;diesel;generator2 | Fuel_diesel_gen2_pre_alrm_DI | fuel | generator2 |  | diesel | pre | [5 empty] | alarm | di
Over/under voltage alarm Gen 1 | over;under;voltage;alarm;generator1 | Hyd_gen1_overUnder_voltage_alrm_DI | hydraulic | generator1 |  |  | over;under |  | voltage |  |  |  | alarm | di
Frequency alarm Gen 1 | frequency;alarm;generator1 | Hyd_gen1_frequency_alrm_DI | hydraulic | generator1 |  |  |  |  | frequency |  |  |  | alarm | di
Over/under voltage alarm Gen 2 | over;under;voltage;alarm;generator2 | Hyd_gen2_overUnder_voltage_alrm_DI | hydraulic | generator2 |  |  | over;under |  | voltage |  |  |  | alarm | di
Frequency alarm Gen 2 | frequency;alarm;generator2 | Hyd_gen2_frequency_alrm_DI | hydraulic | generator2 |  |  |  |  | frequency |  |  |  | alarm | di
Earth fault alarm Gen 1 supply | earth;fault;alarm;generator1;supply | Dc_earth_gen1Supply_fault_alrm_DI | dc | generator1;supply |  | earth |  |  |  | fault |  |  | alarm | di
Earth fault alarm Gen 2 supply | earth;fault;alarm;generator2;supply | Dc_earth_gen2Supply_fault_alrm_DI | dc | generator2;supply |  | earth |  |  |  | fault |  |  | alarm | di
Shore connection overload | shore;connection;overload | Shore_connection_overload_DI | shore | connection | [5 empty] | overload |  |  |  | di
Earth fault alarm on shore supply | earth;fault;alarm;on;shore;supply | Shore_earth_supply_fault_alrm_DI | shore | supply |  | earth |  |  |  | fault |  |  | alarm | di | on
Water in fuel filter 1 engine | water;in;fuel;filter1;engine | Fuel_water_filter1Eng_DI | fuel | filter1;engine |  | water | [7 empty] | di | in
Water in fuel filter 2 engine | water;in;fuel;filter2;engine | Fuel_water_filter2Eng_DI | fuel | filter2;engine |  | water | [7 empty] | di | in
Water in fuel filter generator 1 | water;in;fuel;filter;generator1 | Fuel_water_filterGen1_DI | fuel | filter;generator1 |  | water | [7 empty] | di | in
Water in fuel filter generator 2 | water;in;fuel;filter;generator2 | Fuel_water_filterGen2_DI | fuel | filter;generator2 |  | water | [7 empty] | di | in
Engine room temperature | engineroom;temperature | er_temperature_AI | [5 empty] | engineroom | temperature |  |  |  |  | ai
Bilge alarm engine room port | bilge;alarm;engineroom;port | Bilge_erPt_alrm_DI | bilge |  |  |  |  | engineroom;port |  |  |  |  | alarm | di
Water pressure pump run dry | water;pressure;pump;run;dry | Fw_water_pump_dry_pressure_run_AI | freshwater | pump |  | water | dry |  | pressure |  | run |  |  | ai
AIS alarm | ais;alarm | Nav_AIS_alrm_DI | navigation |  | ais | [7 empty] | alarm | di
Central hydraulic alarm | central;hydraulic;alarm | Hyd_alrm_DI | hydraulic | [9 empty] | alarm | di | central
Fire alarm | fire;alarm | Fire_alrm_DI | fire | [9 empty] | alarm | di
Earth fault alarm in CC | earth;fault;alarm;in;cc | Dc_earth_fault_alrm_DI | dc |  |  | earth |  |  |  | fault |  |  | alarm | di | in |  | cc
Low voltage alarm bank 1 | low;voltage;alarm;bank1 | Dc_bank1_low_voltage_alrm_DI | dc | bank1 |  |  | low |  | voltage |  |  |  | alarm | di
Low voltage alarm bank 2 | low;voltage;alarm;bank2 | Dc_bank2_low_voltage_alrm_DI | dc | bank2 |  |  | low |  | voltage |  |  |  | alarm | di
FWD grey water tank full level 100% | forward;grey;water;tank;full;level;100percent | Ww_greyWater_tank_fwd_level_full100perc_DI | wastewater | tank |  | grey;water |  | forward | level | full;100percent |  |  |  | di
FWD grey water tank high level 75% | forward;grey;water;tank;high;level;75percent | Ww_greyWater_tank_high_fwd_level_75perc_AI | wastewater | tank |  | grey;water | high | forward | level | 75percent |  |  |  | ai
AFT grey water tank full level 100% | aftward;grey;water;tank;full;level;100percent | Ww_greyWater_tank_aft_level_full100perc_DI | wastewater | tank |  | grey;water |  | aftward | level | full;100percent |  |  |  | di
AFT grey water tank high level 75% | aftward;grey;water;tank;high;level;75percent | Ww_greyWater_tank_high_aft_level_75perc_AI | wastewater | tank |  | grey;water | high | aftward | level | 75percent |  |  |  | ai
FWD black water tank full level 100% | forward;black;water;tank;full;level;100percent | Ww_blackWater_tank_fwd_level_full100perc_DI | wastewater | tank |  | black;water |  | forward | level | full;100percent |  |  |  | di
FWD black water tank high level 75% | forward;black;water;tank;high;level;75percent | Ww_blackWater_tank_high_fwd_level_75perc_AI | wastewater | tank |  | black;water | high | forward | level | 75percent |  |  |  | ai
AFT black water tank full level 100% | aftward;black;water;tank;full;level;100percent | Ww_blackWater_tank_aft_level_full100perc_DI | wastewater | tank |  | black;water |  | aftward | level | full;100percent |  |  |  | di
AFT black water tank full level 75% | aftward;black;water;tank;full;level;75percent | Ww_blackWater_tank_aft_level_full75perc_DI | wastewater | tank |  | black;water |  | aftward | level | full;75percent |  |  |  | di
Shore connection failure | shore;connection;fail | Shore_connection_fail_DI | shore | connection | [5 empty] | fail |  |  |  | di
Generator 1 overload | generator1;overload | Hyd_gen1_overload_DI | hydraulic | generator1 | [5 empty] | overload |  |  |  | di
Generator 2 overload | generator2;overload | Hyd_gen2_overload_DI | hydraulic | generator2 | [5 empty] | overload |  |  |  | di
Service batt temp high | service;battery;temperature;high | Dc_service_battery_high_temperature_AI | dc | battery |  | service | high |  | temperature |  |  |  |  | ai
Nav instrument alarm | navigation;instrument;alarm | Nav_instrument_alrm_DI | navigation | instrument | [8 empty] | alarm | di
Nav light failure | navigation;light;fail | Nav_light_fail_DI | navigation | light | [5 empty] | fail |  |  |  | di
Battery ventilation fault | battery;ventilation;fault | Vent_battery_fault_DI | ventilation | battery | [5 empty] | fault |  |  |  | di
Bilge counter engine room port | bilge;counter;engineroom;port | Bilge_erPt_DI | bilge |  |  |  |  | engineroom;port | [5 empty] | di | counter
Bilge counter sail locker | bilge;counter;sail;locker | Bilge_sail_locker_DI | bilge | sail |  |  |  | locker | [5 empty] | di | counter
Bilge counter mid ships | bilge;counter;mid;ships | Bilge_mid_DI | bilge |  |  |  |  | mid | [5 empty] | di | counter;ships
Bilge counter engine room stbd | bilge;counter;engineroom;starboard | Bilge_erSb_DI | bilge |  |  |  |  | engineroom;starboard | [5 empty] | di | counter
Bilge counter aft corridor | bilge;counter;aftward;corridor | Bilge_aftCorridor_DI | bilge |  |  |  |  | aftward;corridor | [5 empty] | di | counter
Bilge counter lazarette | bilge;counter;lazarette | Bilge_laz_DI | bilge |  |  |  |  | lazarette | [5 empty] | di | counter
Fuel from tank 1 | fuel;from;tank1 | Fuel_tank1_DI | fuel | tank1 | [9 empty] | di | from
Fuel from tank 2 | fuel;from;tank2 | Fuel_tank2_DI | fuel | tank2 | [9 empty] | di | from
Ventilation fault in engine room | ventilation;fault;in;engineroom | Vent_er_fault_DI | ventilation |  |  |  |  | engineroom |  | fault |  |  |  | di | in
Drain pump counter FWD PT | drain;pump;counter;forward;port | Bilge_drain_pump_fwdPt_DI | bilge | pump |  | drain |  | forward;port | [5 empty] | di | counter
Drain pump counter FWD SB | drain;pump;counter;forward;starboard | Bilge_drain_pump_fwdSb_DI | bilge | pump |  | drain |  | forward;starboard | [5 empty] | di | counter
Drain pump counter ENG ROOM PT | drain;pump;counter;engineroom;port | Bilge_drain_pump_erPt_DI | bilge | pump |  | drain |  | engineroom;port | [5 empty] | di | counter
Drain pump counter ENG ROOM SB | drain;pump;counter;engineroom;starboard | Bilge_drain_pump_erSb_DI | bilge | pump |  | drain |  | engineroom;starboard | [5 empty] | di | counter
Drain pump counter AFT PT | drain;pump;counter;aftward;port | Bilge_drain_pump_aftPt_DI | bilge | pump |  | drain |  | aftward;port | [5 empty] | di | counter
Drain pump counter AFT SB | drain;pump;counter;aftward;starboard | Bilge_drain_pump_aftSb_DI | bilge | pump |  | drain |  | aftward;starboard | [5 empty] | di | counter
Drain pump counter LAZARETTE PT | drain;pump;counter;lazarette;port | Bilge_drain_pump_lazPt_DI | bilge | pump |  | drain |  | lazarette;port | [5 empty] | di | counter
Drain pump counter LAZARETTE SB | drain;pump;counter;lazarette;starboard | Bilge_drain_pump_lazSb_DI | bilge | pump |  | drain |  | lazarette;starboard | [5 empty] | di | counter
Drain pump counter MAST | drain;pump;counter;mast | Bilge_drain_pump_mast_DI | bilge | pump |  | drain |  | mast | [5 empty] | di | counter
High level alarm 1 lights | high;level;alarm;lights | Lights_high_level_alrm_DI | lights |  |  |  | high |  | level |  |  |  | alarm | di
High level alarm 2 lights | high;level;alarm;lights | Lights_high_level_alrm_DI | lights |  |  |  | high |  | level |  |  |  | alarm | di
High level alarm 3 lights | high;level;alarm;lights | Lights_high_level_alrm_DI | lights |  |  |  | high |  | level |  |  |  | alarm | di
High level alarm 4 lights | high;level;alarm;lights | Lights_high_level_alrm_DI | lights |  |  |  | high |  | level |  |  |  | alarm | di
Low level alarm 1 | low;level;alarm | low_level_alrm_DI |  |  |  |  | low |  | level |  |  |  | alarm | di
Low level alarm 2 | low;level;alarm | low_level_alrm_DI |  |  |  |  | low |  | level |  |  |  | alarm | di
Low level alarm 3 | low;level;alarm | low_level_alrm_DI |  |  |  |  | low |  | level |  |  |  | alarm | di
Low level alarm 4 | low;level;alarm | low_level_alrm_DI |  |  |  |  | low |  | level |  |  |  | alarm | di
Low level alarm night 1 | low;level;alarm;night | Lights_night_low_level_alrm_DI | lights |  |  | night | low |  | level |  |  |  | alarm | di
Low level alarm night 2 | low;level;alarm;night | Lights_night_low_level_alrm_DI | lights |  |  | night | low |  | level |  |  |  | alarm | di
Low level alarm night 3 | low;level;alarm;night | Lights_night_low_level_alrm_DI | lights |  |  | night | low |  | level |  |  |  | alarm | di
Low level alarm night 4 | low;level;alarm;night | Lights_night_low_level_alrm_DI | lights |  |  | night | low |  | level |  |  |  | alarm | di
High level alarm 1 buzzer | high;level;alarm;buzzer | Dc_buzz_high_level_alrm_DI | dc | buzzer |  |  | high |  | level |  |  |  | alarm | di
High level alarm 2 buzzer | high;level;alarm;buzzer | Dc_buzz_high_level_alrm_DI | dc | buzzer |  |  | high |  | level |  |  |  | alarm | di
High level alarm 3 buzzer | high;level;alarm;buzzer | Dc_buzz_high_level_alrm_DI | dc | buzzer |  |  | high |  | level |  |  |  | alarm | di
High level alarm 4 buzzer | high;level;alarm;buzzer | Dc_buzz_high_level_alrm_DI | dc | buzzer |  |  | high |  | level |  |  |  | alarm | di
Bilge pump run connected to burglar alarm | bilge;pump;run;connected;to;burglar;alarm | Bilge_pump_connected_run_alrm_DI | bilge | pump | [5 empty] | connected | run |  | alarm | di | to |  | burglar