## Tags
original_name | normalized_tokens | Generated Tag | systems | object_types | object_standalones | object_specifiers | modifiers | locations | attributes | states | actions | device_classes | signal_roles | signal_types | ambiguous | numeric_values | unknown_tokens | technical_tokens
In1_Main_halyard_up | main;halyard;up | Hyd_mainHaly_up_DI | hydraulic | halyard |  | main | [7 empty] | di | up |  |  | in1
In2_Main_halyard_HI_speed | main;halyard;high;speed | Hyd_mainHaly_high_speed_DI | hydraulic | halyard |  | main | high |  | speed |  |  |  |  | di |  |  |  | in2
In3_Suction_valve_gen1 | suction;valve;generator1 | Bilge_suctionVlvGen1_DI | bilge | valve;generator1 |  | suction | [7 empty] | di |  |  |  | in3
In4_Pressure_filter_gen1 | pressure;filter;generator1 | Hyd_filterGen1_pressure_DI | hydraulic | filter;generator1 |  |  |  |  | pressure |  |  |  |  | di |  |  |  | in4
In5_Pressure_filter_DCpumps | pressure;filter;dcpumps | Hyd_filter_pressure_DI | hydraulic | filter |  |  |  |  | pressure |  |  |  |  | di |  |  | dcpumps | in5
In6_Return_oil_filter1 | return;oil;filter1 | Hyd_oilFilter1_DI | hydraulic | filter1 |  | oil | [7 empty] | di |  |  | return | in6
In7_Return_oil_filter2 | return;oil;filter2 | Hyd_oilFilter2_DI | hydraulic | filter2 |  | oil | [7 empty] | di |  |  | return | in7
In8_Oil_level_sw_low | oil;level;switch;low | Hyd_oil_low_level_sw_DI | hydraulic |  |  | oil | low |  | level |  |  | switch |  | di |  |  |  | in8
In9_Oil_level_sw_too_low | oil;level;switch;too;low | Hyd_oil_low_level_sw_DI | hydraulic |  |  | oil | low |  | level |  |  | switch |  | di |  |  | too | in9
In10_Return_valve_sw_emerg | return;valve;switch;emerg | Hyd_vlv_sw_DI | hydraulic | valve | [7 empty] | switch |  | di |  |  | return;emerg | in10
In11_Auto_pilot_emerg_run | auto;pilot;emerg;run | run_DI | [8 empty] | run |  |  | di |  |  | auto;pilot;emerg | in11
In12_Oiltemp_high | oiltemp;high | high_DI |  |  |  |  | high | [6 empty] | di |  |  | oiltemp | in12
In13_Diesel_gen1_PTO_ON | diesel;generator1;pto;on | GenPt_dieselGen1Pto_on_DI | genport | generator1;pto |  | diesel | [7 empty] | di | on |  |  | in13
In14_Thermal_cut_out_DC1 | thermal;cut;out;dc1 | Dc1_out_DI | dc1 | [10 empty] | di | out |  | thermal;cut | in14
In15_Thermal_cut_out_DC2 | thermal;cut;out;dc2 | Dc2_out_DI | dc2 | [10 empty] | di | out |  | thermal;cut | in15
In16_Hydraulic_ON_OFF | hydraulic;on;off | Hyd_onOff_DI | hydraulic | [10 empty] | di | on;off |  |  | in16
In17_PLC_power_ON_OFF | plc;power;on;off | PLC_power_onOff_DI | plc | [5 empty] | power |  |  |  |  | di | on;off |  |  | in17
In18_PLC_normal_mode | plc;normal;mode | PLC_mode_DI | plc | [10 empty] | di | mode |  | normal | in18
In19_PLC_harbor_mode | plc;harbor;mode | PLC_mode_DI | plc | [10 empty] | di | mode |  | harbor | in19
In20_PLC_default_settings_HC01 | plc;default;settings;hc01 | PLC_DI | plc | [10 empty] | di |  |  | default;settings;hc01 | in20
In21_Diesel_gen_run | diesel;generator;run | Fuel_dieselGen_run_DI | fuel | generator |  | diesel |  |  |  |  | run |  |  | di |  |  |  | in21
In22_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in22
In23_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in23
In24_Main_halyard_down | main;halyard;down | Hyd_mainHaly_dn_DI | hydraulic | halyard |  | main | [7 empty] | di | down |  |  | in24
In25_Hoist | hoist | hoist_DI | [8 empty] | hoist |  |  | di |  |  |  | in25
In26_Bow_thruster_up_ls | bowthruster;up;limitswitch | Hyd_bowt_up_ls_DI | hydraulic |  | bowthruster | [6 empty] | limitswitch |  | di | up |  |  | in26
In27_Thruster_ON_OFF | thruster;on;off | Dc_thruster_onOff_DI | dc | thruster | [9 empty] | di | on;off |  |  | in27
In28_Bow_thruster_DOWN | bowthruster;down | Hyd_bowt_dn_DI | hydraulic |  | bowthruster | [8 empty] | di | down |  |  | in28
In29_Bow_thruster_UP | bowthruster;up | Hyd_bowt_up_DI | hydraulic |  | bowthruster | [8 empty] | di | up |  |  | in29
In30_Bow_thruster_down_ls | bowthruster;down;limitswitch | Hyd_bowt_dn_ls_DI | hydraulic |  | bowthruster | [6 empty] | limitswitch |  | di | down |  |  | in30
In31_Bow_thruster_port_footsw | bowthruster;port;footswitch | Hyd_bowt_pt_fsw_DI | hydraulic |  | bowthruster |  |  | port |  |  |  | footswitch |  | di |  |  |  | in31
In32_Bow_thruster_stbd_footsw | bowthruster;starboard;footswitch | Hyd_bowt_sb_fsw_DI | hydraulic |  | bowthruster |  |  | starboard |  |  |  | footswitch |  | di |  |  |  | in32
In33_Chain_counter | chain;counter | Dc_chain_counter_DI | dc | chain | [9 empty] | di | counter |  |  | in33
In34_Wand_lead_Anch_windlass_in | wand;lead;anchor;windlass;in | Hyd_anchorWindlass_in_DI | hydraulic | windlass |  | anchor | [7 empty] | di | in |  | wand;lead | in34
In35_Wand_lead_Anch_windlass_out | wand;lead;anchor;windlass;out | Hyd_anchorWindlass_out_DI | hydraulic | windlass |  | anchor | [7 empty] | di | out |  | wand;lead | in35
In36_Wand_lead_Anch_swingarm_out | wand;lead;anchor;arm;out | Hyd_anchorArm_out_DI | hydraulic | arm |  | anchor | [7 empty] | di | out |  | wand;lead | in36
In37_Wand_lead_Anch_swingarm_in | wand;lead;anchor;arm;in | Hyd_anchorArm_in_DI | hydraulic | arm |  | anchor | [7 empty] | di | in |  | wand;lead | in37
In38_Anchoring_system_ON | anchoring;system;on | on_DI | [11 empty] | di | on |  | anchoring;system | in38
In39_Anch_swingarm_stbd_out_stop | anchor;arm;starboard;out;stop | Hyd_anchorArm_sb_stop_out_DI | hydraulic | arm |  | anchor |  | starboard |  |  | stop |  |  | di | out |  |  | in39
In40_Anch_swingarm_stbd_in_stop | anchor;arm;starboard;in;stop | Hyd_anchorArm_sb_stop_in_DI | hydraulic | arm |  | anchor |  | starboard |  |  | stop |  |  | di | in |  |  | in40
In41_Footsw_Anch_windlass_in | footswitch;anchor;windlass;in | Hyd_anchorWindlass_in_fsw_DI | hydraulic | windlass |  | anchor | [5 empty] | footswitch |  | di | in |  |  | in41
In42_Footsw_Anch_windlass_out | footswitch;anchor;windlass;out | Hyd_anchorWindlass_out_fsw_DI | hydraulic | windlass |  | anchor | [5 empty] | footswitch |  | di | out |  |  | in42
In43_Furle | furle | DI | [11 empty] | di |  |  | furle | in43
In44_Silent_furle | silent;furle | DI | [11 empty] | di |  |  | silent;furle | in44
In45_Flatten | flatten | flatten_DI | [8 empty] | flatten |  |  | di |  |  |  | in45
In46_Main_halyard_winch_PS_SW | main;halyard;winch;pressureswitch;switch | Hyd_mainHalyWinch_pswSw_DI | hydraulic | halyard;winch |  | main | [5 empty] | pressureswitch;switch |  | di |  |  |  | in46
In47_Dingy_winch_ON_OFF | dingy;winch;on;off | Hyd_dingyWinch_onOff_DI | hydraulic | winch |  | dingy | [7 empty] | di | on;off |  |  | in47
In48_Dingy_garage_door_open | dingy;garage;door;open | Dc_dingyGarageDoor_open_DI | dc | door |  | dingy;garage | [7 empty] | di | open |  |  | in48
In49_Dingy_garage_door_close | dingy;garage;door;close | Dc_dingyGarageDoor_close_DI | dc | door |  | dingy;garage |  |  |  |  | close |  |  | di |  |  |  | in49
In50_Dingy_winch_in | dingy;winch;in | Hyd_dingyWinch_in_DI | hydraulic | winch |  | dingy | [7 empty] | di | in |  |  | in50
In51_Dingy_winch_out | dingy;winch;out | Hyd_dingyWinch_out_DI | hydraulic | winch |  | dingy | [7 empty] | di | out |  |  | in51
In52_Inner_forestay_pt_coam_ten | innerforestay;port;coaming;tense | Hyd_innerFstay_ptCoam_ten_DI | hydraulic |  | innerforestay |  |  | port;coaming |  |  | tense |  |  | di |  |  |  | in52
In53_Inner_forestay_pt_coam_ease | innerforestay;port;coaming;release | Hyd_innerFstay_ptCoam_rel_DI | hydraulic |  | innerforestay |  |  | port;coaming |  |  | release |  |  | di |  |  |  | in53
In54_Backstay_rams_ten_pt_ped | backstay;rams;tense;portpedestal | Hyd_backstay_ptPed_ten_DI | hydraulic | backstay |  |  |  | portpedestal |  |  | tense |  |  | di |  |  | rams | in54
In55_Backstay_rams_rel_pt_ped | backstay;rams;release;portpedestal | Hyd_backstay_ptPed_rel_DI | hydraulic | backstay |  |  |  | portpedestal |  |  | release |  |  | di |  |  | rams | in55
In56_Alarm_tripped_fuse_in_HC02 | alarm;tripped;fuse;in;hc02 | Dc_fuse_tripped_in_alrm_DI | dc | fuse | [5 empty] | tripped |  |  | alarm | di | in |  | hc02 | in56
In57_Alarm_tripped_fuse_in_HC01 | alarm;tripped;fuse;in;hc01 | Dc_fuse_tripped_in_alrm_DI | dc | fuse | [5 empty] | tripped |  |  | alarm | di | in |  | hc01 | in57
In58_Jib_haly_trim_sb_coam_ten | jib;halyard;trim;starboard;coaming;tense | Hyd_jibHaly_sbCoam_ten_DI | hydraulic | halyard |  | jib |  | starboard;coaming |  |  | tense |  |  | di |  |  | trim | in58
In59_Jib_haly_trim_sb_coam_ease | jib;halyard;trim;starboard;coaming;release | Hyd_jibHaly_sbCoam_rel_DI | hydraulic | halyard |  | jib |  | starboard;coaming |  |  | release |  |  | di |  |  | trim | in59
In60_Footsw_aft_pt_mooring_W_CW | footswitch;aftward;port;mooring;winch;clockwise | Hyd_mooringWinch_aftPt_cw_fsw_DI | hydraulic | winch |  | mooring |  | aftward;port |  |  | clockwise | footswitch |  | di |  |  |  | in60
In61_Footsw_aft_pt_mooring_W_CCW | footswitch;aftward;port;mooring;winch;counterclockwise | Hyd_mooringWinch_aftPt_ccw_fsw_DI | hydraulic | winch |  | mooring |  | aftward;port |  |  | counterclockwise | footswitch |  | di |  |  |  | in61
In62_SPARE_26 | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in62
In63_SPARE_25 | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in63
In64_SPARE_26 | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in64
In65_Cunningham_ten_port | cunningham;tense;port | Hyd_cunningham_pt_ten_DI | hydraulic | cunningham |  |  |  | port |  |  | tense |  |  | di |  |  |  | in65
In66_Cunningham_ease_port | cunningham;release;port | Hyd_cunningham_pt_rel_DI | hydraulic | cunningham |  |  |  | port |  |  | release |  |  | di |  |  |  | in66
In67_pt_aft_haly_winch_hi_sp | port;aftward;halyard;winch;high;speed | Hyd_halyWinch_high_ptAft_speed_DI | hydraulic | halyard;winch |  |  | high | port;aftward | speed |  |  |  |  | di |  |  |  | in67
In68_pt_aft_haly_winch_lo_sp | port;aftward;halyard;winch;low;speed | Hyd_halyWinch_low_ptAft_speed_DI | hydraulic | halyard;winch |  |  | low | port;aftward | speed |  |  |  |  | di |  |  |  | in68
In69_Footsw_primary_W_pt_hi_sp | footswitch;primary;winch;port;high;speed | Hyd_primWinch_high_pt_speed_fsw_DI | hydraulic | winch |  | primary | high | port | speed |  |  | footswitch |  | di |  |  |  | in69
In70_Footsw_primary_W_pt_lo_sp | footswitch;primary;winch;port;low;speed | Hyd_primWinch_low_pt_speed_fsw_DI | hydraulic | winch |  | primary | low | port | speed |  |  | footswitch |  | di |  |  |  | in70
In71_pt_jib_car_pullr_fwd_sb_ped | port;jib;car;pullr;forward;starboardpedestal | Hyd_jibCar_ptFwdSbPed_DI | hydraulic | car |  | jib |  | port;forward;starboardpedestal | [5 empty] | di |  |  | pullr | in71
In72_pt_jib_car_pullr_aft_sb_ped | port;jib;car;pullr;aftward;starboardpedestal | Hyd_jibCar_ptAftSbPed_DI | hydraulic | car |  | jib |  | port;aftward;starboardpedestal | [5 empty] | di |  |  | pullr | in72
In73_Code0_reef_pt_coam | code0;reef;port;coaming | Hyd_code0_ptCoam_reef_DI | hydraulic |  |  | code0 |  | port;coaming |  |  | reef |  |  | di |  |  |  | in73
In74_Code0_set_pt_coam | code0;set;port;coaming | Hyd_code0_ptCoam_set_DI | hydraulic |  |  | code0 |  | port;coaming |  |  | set |  |  | di |  |  |  | in74
In75_pt_haly_winch_hi_sp | port;halyard;winch;high;speed | Hyd_halyWinch_high_pt_speed_DI | hydraulic | halyard;winch |  |  | high | port | speed |  |  |  |  | di |  |  |  | in75
In76_pt_haly_winch_lo_sp | port;halyard;winch;low;speed | Hyd_halyWinch_low_pt_speed_DI | hydraulic | halyard;winch |  |  | low | port | speed |  |  |  |  | di |  |  |  | in76
In77_Footsw_pt_sec_winch_hi_sp | footswitch;port;secondary;winch;high;speed | Hyd_secWinch_high_pt_speed_fsw_DI | hydraulic | winch |  | secondary | high | port | speed |  |  | footswitch |  | di |  |  |  | in77
In78_Footsw_pt_sec_winch_lo_sp | footswitch;port;secondary;winch;low;speed | Hyd_secWinch_low_pt_speed_fsw_DI | hydraulic | winch |  | secondary | low | port | speed |  |  | footswitch |  | di |  |  |  | in78
In79_Mainsh_travellr_pt_ped_port | mainsheet;traveller;portpedestal;port | Hyd_mainsheetTraveller_ptPedPt_DI | hydraulic | traveller |  | mainsheet |  | portpedestal;port | [5 empty] | di |  |  |  | in79
In80_Mainsh_travellr_pt_ped_stbd | mainsheet;traveller;portpedestal;starboard | Hyd_mainsheetTraveller_ptPedSb_DI | hydraulic | traveller |  | mainsheet |  | portpedestal;starboard | [5 empty] | di |  |  |  | in80
In81_sb_jibcar_pullr_fwd_pt_coam | starboard;jibcar;pullr;forward;port;coaming | sbFwdPtCoam_DI | [5 empty] | starboard;forward;port;coaming | [5 empty] | di |  |  | jibcar;pullr | in81
In82_sb_jibcar_pullr_aft_pt_coam | starboard;jibcar;pullr;aftward;port;coaming | sbAftPtCoam_DI | [5 empty] | starboard;aftward;port;coaming | [5 empty] | di |  |  | jibcar;pullr | in82
In83_Jib_furler_reef_pt_coam | jib;furler;reef;port;coaming | Hyd_jibFurler_ptCoam_reef_DI | hydraulic | furler |  | jib |  | port;coaming |  |  | reef |  |  | di |  |  |  | in83
In84_Jib_furler_set_pt_coam | jib;furler;set;port;coaming | Hyd_jibFurler_ptCoam_set_DI | hydraulic | furler |  | jib |  | port;coaming |  |  | set |  |  | di |  |  |  | in84
In85_Mainsh_W_hi_sp_payout_pt | mainsheet;winch;high;speed;payout;port | Hyd_mainsheetWinch_high_pt_speed_payout_DI | hydraulic | winch |  | mainsheet | high | port | speed |  | payout |  |  | di |  |  |  | in85
In86_Mainsh_W_lo_sp_payout_pt | mainsheet;winch;low;speed;payout;port | Hyd_mainsheetWinch_low_pt_speed_payout_DI | hydraulic | winch |  | mainsheet | low | port | speed |  | payout |  |  | di |  |  |  | in86
In87_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in87
In88_Mainsh_W_lo_sp_payin_pt | mainsheet;winch;low;speed;payin;port | Hyd_mainsheetWinch_low_pt_speed_payin_DI | hydraulic | winch |  | mainsheet | low | port | speed |  | payin |  |  | di |  |  |  | in88
In89_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in89
In90_Boom_outhaul_ten_pt_coam | boom;outhaul;tense;port;coaming | Hyd_boomOuthaul_ptCoam_ten_DI | hydraulic | boom;outhaul |  |  |  | port;coaming |  |  | tense |  |  | di |  |  |  | in90
In91_Boom_outhaul_rel_pt_coam | boom;outhaul;release;port;coaming | Hyd_boomOuthaul_ptCoam_rel_DI | hydraulic | boom;outhaul |  |  |  | port;coaming |  |  | release |  |  | di |  |  |  | in91
In92_Backstay_rams_ten | backstay;rams;tense | Hyd_backstay_ten_DI | hydraulic | backstay | [6 empty] | tense |  |  | di |  |  | rams | in92
In93_Backstay_rams_rel | backstay;rams;release | Hyd_backstay_rel_DI | hydraulic | backstay | [6 empty] | release |  |  | di |  |  | rams | in93
In94_Garage_door_sealing_PB_Ped | garage;door;sealing;button;pedestal | Dc_garageDoorSealing_ped_btn_DI | dc | door;sealing |  | garage |  | pedestal |  |  |  | button |  | di |  |  |  | in94
In95_Boomvang_up_pt_ped | boomvang;up;portpedestal | ptPed_up_DI | [5 empty] | portpedestal | [5 empty] | di | up |  | boomvang | in95
In96_Boomvang_down_pt_ped | boomvang;down;portpedestal | ptPed_dn_DI | [5 empty] | portpedestal | [5 empty] | di | down |  | boomvang | in96
In97_Cunningham_ten_port_ped | cunningham;tense;portpedestal | Hyd_cunningham_ptPed_ten_DI | hydraulic | cunningham |  |  |  | portpedestal |  |  | tense |  |  | di |  |  |  | in97
In98_Cunningham_ease_port_ped | cunningham;release;portpedestal | Hyd_cunningham_ptPed_rel_DI | hydraulic | cunningham |  |  |  | portpedestal |  |  | release |  |  | di |  |  |  | in98
In99_sb_aft_haly_winch_hi_sp | starboard;aftward;halyard;winch;high;speed | Hyd_halyWinch_high_sbAft_speed_DI | hydraulic | halyard;winch |  |  | high | starboard;aftward | speed |  |  |  |  | di |  |  |  | in99
In100_sb_aft_haly_winch_lo_sp | starboard;aftward;halyard;winch;low;speed | Hyd_halyWinch_low_sbAft_speed_DI | hydraulic | halyard;winch |  |  | low | starboard;aftward | speed |  |  |  |  | di |  |  |  | in100
In101_Footsw_primary_W_sb_hi_sp | footswitch;primary;winch;starboard;high;speed | Hyd_primWinch_high_sb_speed_fsw_DI | hydraulic | winch |  | primary | high | starboard | speed |  |  | footswitch |  | di |  |  |  | in101
In102_Footsw_primary_W_sb_lo_sp | footswitch;primary;winch;starboard;low;speed | Hyd_primWinch_low_sb_speed_fsw_DI | hydraulic | winch |  | primary | low | starboard | speed |  |  | footswitch |  | di |  |  |  | in102
In103_sb_ibcar_pullr_fwd_sb_coam | starboard;ibcar;pullr;forward;starboard;coaming | sbFwdSbCoam_DI | [5 empty] | starboard;forward;starboard;coaming | [5 empty] | di |  |  | ibcar;pullr | in103
In104_sb_ibcar_pullr_aft_sb_coam | starboard;ibcar;pullr;aftward;starboard;coaming | sbAftSbCoam_DI | [5 empty] | starboard;aftward;starboard;coaming | [5 empty] | di |  |  | ibcar;pullr | in104
In105_Code0_reef_sb_caom | code0;reef;starboard;caom | Hyd_code0_sb_reef_DI | hydraulic |  |  | code0 |  | starboard |  |  | reef |  |  | di |  |  | caom | in105
In106_Code0_set_sb_caom | code0;set;starboard;caom | Hyd_code0_sb_set_DI | hydraulic |  |  | code0 |  | starboard |  |  | set |  |  | di |  |  | caom | in106
In107_sb_haly_winch_hi_sp | starboard;halyard;winch;high;speed | Hyd_halyWinch_high_sb_speed_DI | hydraulic | halyard;winch |  |  | high | starboard | speed |  |  |  |  | di |  |  |  | in107
In108_sb_haly_winch_lo_sp | starboard;halyard;winch;low;speed | Hyd_halyWinch_low_sb_speed_DI | hydraulic | halyard;winch |  |  | low | starboard | speed |  |  |  |  | di |  |  |  | in108
In109_Footsw_sb_sec_winch_hi_sp | footswitch;starboard;secondary;winch;high;speed | Hyd_secWinch_high_sb_speed_fsw_DI | hydraulic | winch |  | secondary | high | starboard | speed |  |  | footswitch |  | di |  |  |  | in109
In110_Footsw_sb_sec_winch_lo_sp | footswitch;starboard;secondary;winch;low;speed | Hyd_secWinch_low_sb_speed_fsw_DI | hydraulic | winch |  | secondary | low | starboard | speed |  |  | footswitch |  | di |  |  |  | in110
In111_SB_FSW_main_sheet_hi_speed | starboard;footswitch;mainsheet;high;speed | Hyd_mainsheet_high_sb_speed_fsw_DI | hydraulic |  |  | mainsheet | high | starboard | speed |  |  | footswitch |  | di |  |  |  | in111
In112_SB_FSW_main_sheet_lo_spee | starboard;footswitch;mainsheet;low;spee | Hyd_mainsheet_low_sb_fsw_DI | hydraulic |  |  | mainsheet | low | starboard |  |  |  | footswitch |  | di |  |  | spee | in112
In113_Mainsh_trav_msi_stbd | mainsheet;traveller;msi;starboard | Hyd_mainsheetTraveller_msiSb_DI | hydraulic | traveller |  | mainsheet |  | msi;starboard | [5 empty] | di |  |  |  | in113
In114_Mainsh_trav_msi_port | mainsheet;traveller;msi;port | Hyd_mainsheetTraveller_msiPt_DI | hydraulic | traveller |  | mainsheet |  | msi;port | [5 empty] | di |  |  |  | in114
In115_Jib_furler_reef_sb_coam | jib;furler;reef;starboard;coaming | Hyd_jibFurler_sbCoam_reef_DI | hydraulic | furler |  | jib |  | starboard;coaming |  |  | reef |  |  | di |  |  |  | in115
In116_Jib_furler_set_sb_coam | jib;furler;set;starboard;coaming | Hyd_jibFurler_sbCoam_set_DI | hydraulic | furler |  | jib |  | starboard;coaming |  |  | set |  |  | di |  |  |  | in116
In117_Mainsh_W_HISPEED | mainsheet;winch;fast | Hyd_mainsheetWinch_fast_DI | hydraulic | winch |  | mainsheet | fast | [6 empty] | di |  |  |  | in117
In118_Mainsh_W_lo_sp_payout_sb | mainsheet;winch;low;speed;payout;starboard | Hyd_mainsheetWinch_low_sb_speed_payout_DI | hydraulic | winch |  | mainsheet | low | starboard | speed |  | payout |  |  | di |  |  |  | in118
In119_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in119
In120_Mainsh_W_lo_sp_payin_sb | mainsheet;winch;low;speed;payin;starboard | Hyd_mainsheetWinch_low_sb_speed_payin_DI | hydraulic | winch |  | mainsheet | low | starboard | speed |  | payin |  |  | di |  |  |  | in120
In121_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in121
In122_FWD_mooring_winch_CW | forward;mooring;winch;clockwise | Hyd_mooringWinch_fwd_cw_DI | hydraulic | winch |  | mooring |  | forward |  |  | clockwise |  |  | di |  |  |  | in122
In123_FWD_mooring_winch_CCW | forward;mooring;winch;counterclockwise | Hyd_mooringWinch_fwd_ccw_DI | hydraulic | winch |  | mooring |  | forward |  |  | counterclockwise |  |  | di |  |  |  | in123
In124_Spare20 | spare20 | Spare20_DI | spare20 | [10 empty] | di |  |  |  | in124
In125_quick_release_but1 | quick;release;button1 | rel_btn1_DI | [8 empty] | release | button1 |  | di |  |  | quick | in125
In126_quick_release_but2 | quick;release;button2 | rel_btn2_DI | [8 empty] | release | button2 |  | di |  |  | quick | in126
In127_Boomvang_up_msi | boomvang;up;msi | msi_up_DI | [5 empty] | msi | [5 empty] | di | up |  | boomvang | in127
In128_Boomvang_down_msi | boomvang;down;msi | msi_dn_DI | [5 empty] | msi | [5 empty] | di | down |  | boomvang | in128
In129_Footsw_mainsheet_hi_sp | footswitch;mainsheet;high;speed | Hyd_mainsheet_high_speed_fsw_DI | hydraulic |  |  | mainsheet | high |  | speed |  |  | footswitch |  | di |  |  |  | in129
In130_Footsw_mainsheet_lo_sp | footswitch;mainsheet;low;speed | Hyd_mainsheet_low_speed_fsw_DI | hydraulic |  |  | mainsheet | low |  | speed |  |  | footswitch |  | di |  |  |  | in130
In131_Suction_valve_gen2 | suction;valve;generator2 | Bilge_suctionVlvGen2_DI | bilge | valve;generator2 |  | suction | [7 empty] | di |  |  |  | in131
In132_Pressure_filter_gen2 | pressure;filter;generator2 | Hyd_filterGen2_pressure_DI | hydraulic | filter;generator2 |  |  |  |  | pressure |  |  |  |  | di |  |  |  | in132
In133_Safety_full_drum | safety;full;drum | full_DI | [7 empty] | full |  |  |  | di |  |  | safety;drum | in133
In134_Safety_empty_drum | safety;empty;drum | empty_DI | [7 empty] | empty |  |  |  | di |  |  | safety;drum | in134
In135_Mainsheet_winch_full_drum | mainsheet;winch;full;drum | Hyd_mainsheetWinch_full_DI | hydraulic | winch |  | mainsheet |  |  |  | full |  |  |  | di |  |  | drum | in135
In136_Mainsheet_winch_empty_drum | mainsheet;winch;empty;drum | Hyd_mainsheetWinch_empty_DI | hydraulic | winch |  | mainsheet |  |  |  | empty |  |  |  | di |  |  | drum | in136
In137_Mainsheet_winch_psw | mainsheet;winch;pressureswitch | Hyd_mainsheetWinch_psw_DI | hydraulic | winch |  | mainsheet | [5 empty] | pressureswitch |  | di |  |  |  | in137
In138_Boom_outhaul_ten_PT_coam | boom;outhaul;tense;port;coaming | Hyd_boomOuthaul_ptCoam_ten_DI | hydraulic | boom;outhaul |  |  |  | port;coaming |  |  | tense |  |  | di |  |  |  | in138
In139_Boom_outhaul_ease_PT_coam | boom;outhaul;release;port;coaming | Hyd_boomOuthaul_ptCoam_rel_DI | hydraulic | boom;outhaul |  |  |  | port;coaming |  |  | release |  |  | di |  |  |  | in139
In140_Bowthrust_FSW_sb_side_pt | bowthruster;footswitch;starboard;side;port | Hyd_bowt_sbPt_fsw_DI | hydraulic |  | bowthruster |  |  | starboard;port |  |  |  | footswitch |  | di |  |  | side | in140
In141_Bowthrust_FSW_sb_side_sb | bowthruster;footswitch;starboard;side;starboard | Hyd_bowt_sbSb_fsw_DI | hydraulic |  | bowthruster |  |  | starboard;starboard |  |  |  | footswitch |  | di |  |  | side | in141
In142_Footsw_aft_sb_moorng_W_CW | footswitch;aftward;starboard;mooring;winch;clockwise | Hyd_mooringWinch_aftSb_cw_fsw_DI | hydraulic | winch |  | mooring |  | aftward;starboard |  |  | clockwise | footswitch |  | di |  |  |  | in142
In143_Footsw_aft_sb_moorng_W_CCW | footswitch;aftward;starboard;mooring;winch;counterclockwise | Hyd_mooringWinch_aftSb_ccw_fsw_DI | hydraulic | winch |  | mooring |  | aftward;starboard |  |  | counterclockwise | footswitch |  | di |  |  |  | in143
In144_InnerForestay_sb_coam_ten | innerforestay;starboard;coaming;tense | Hyd_innerFstay_sbCoam_ten_DI | hydraulic |  | innerforestay |  |  | starboard;coaming |  |  | tense |  |  | di |  |  |  | in144
In145_InnerForestay_sb_coam_ease | innerforestay;starboard;coaming;release | Hyd_innerFstay_sbCoam_rel_DI | hydraulic |  | innerforestay |  |  | starboard;coaming |  |  | release |  |  | di |  |  |  | in145
In146_Jib_haly_trim_rel_pt_coam | jib;halyard;trim;release;port;coaming | Hyd_jibHaly_ptCoam_rel_DI | hydraulic | halyard |  | jib |  | port;coaming |  |  | release |  |  | di |  |  | trim | in146
In147_Jib_haly_trim_ten_pt_coam | jib;halyard;trim;tense;port;coaming | Hyd_jibHaly_ptCoam_ten_DI | hydraulic | halyard |  | jib |  | port;coaming |  |  | tense |  |  | di |  |  | trim | in147
In148_Diesel_gen2_run | diesel;generator2;run | Fuel_dieselGen2_run_DI | fuel | generator2 |  | diesel |  |  |  |  | run |  |  | di |  |  |  | in148
In149_Diesel_gen2_PTO_on | diesel;generator2;pto;on | GenPt_dieselGen2Pto_on_DI | genport | generator2;pto |  | diesel | [7 empty] | di | on |  |  | in149
In150_Inner_forestay_stow_up | innerforestay;stow;up | Hyd_innerFstay_stow_up_DI | hydraulic |  | innerforestay | [5 empty] | stow |  |  | di | up |  |  | in150
In151_Inner_forestay_stow_dn | innerforestay;stow;down | Hyd_innerFstay_stow_dn_DI | hydraulic |  | innerforestay | [5 empty] | stow |  |  | di | down |  |  | in151
In152_Garage_door_lock_sb | garage;door;lock;starboard | Spare_garageDoor_sb_lock_DI | spare | door |  | garage |  | starboard |  |  | lock |  |  | di |  |  |  | in152
In153_Garage_door_lock_pt | garage;door;lock;port | Spare_garageDoor_pt_lock_DI | spare | door |  | garage |  | port |  |  | lock |  |  | di |  |  |  | in153
In154_Chair_rest_sb_up | chair;rest;starboard;up | sb_up_DI | [5 empty] | starboard | [5 empty] | di | up |  | chair;rest | in154
In155_Chair_rest_sb_dn | chair;rest;starboard;down | sb_dn_DI | [5 empty] | starboard | [5 empty] | di | down |  | chair;rest | in155
In156_Chair_rest_pt_up | chair;rest;port;up | pt_up_DI | [5 empty] | port | [5 empty] | di | up |  | chair;rest | in156
In157_Chair_rest_pt_dn | chair;rest;port;down | pt_dn_DI | [5 empty] | port | [5 empty] | di | down |  | chair;rest | in157
In158_Main_engine_run | mainengine;run | ME_run_DI | mainengine | [7 empty] | run |  |  | di |  |  |  | in158
In159_Spare4 | spare4 | Spare4_DI | spare4 | [10 empty] | di |  |  |  | in159
In160_Spare3 | spare3 | Spare3_DI | spare3 | [10 empty] | di |  |  |  | in160
In161_Stern_thruster_down | sternthruster;down | Hyd_sternt_dn_DI | hydraulic |  | sternthruster | [8 empty] | di | down |  |  | in161
In162_Stern_thruster_up | sternthruster;up | Hyd_sternt_up_DI | hydraulic |  | sternthruster | [8 empty] | di | up |  |  | in162
In163_Strn_thr_FSW_sbside_SB | sternthruster;footswitch;starboard;starboard | Hyd_sternt_sbSb_fsw_DI | hydraulic |  | sternthruster |  |  | starboard;starboard |  |  |  | footswitch |  | di |  |  |  | in163
In164_Strn_thr_FSW_sbside_PT | sternthruster;footswitch;starboard;port | Hyd_sternt_sbPt_fsw_DI | hydraulic |  | sternthruster |  |  | starboard;port |  |  |  | footswitch |  | di |  |  |  | in164
In165_Strn_thr_FSW_sbped_SB | sternthruster;footswitch;starboardpedestal;starboard | Hyd_sternt_sbPedSb_fsw_DI | hydraulic |  | sternthruster |  |  | starboardpedestal;starboard |  |  |  | footswitch |  | di |  |  |  | in165
In166_Strn_thr_FSW_sbped_PT | sternthruster;footswitch;starboardpedestal;port | Hyd_sternt_sbPedPt_fsw_DI | hydraulic |  | sternthruster |  |  | starboardpedestal;port |  |  |  | footswitch |  | di |  |  |  | in166
In167_Strn_thr_down_pos | sternthruster;down;position | Hyd_sternt_position_dn_DI | hydraulic |  | sternthruster |  |  |  | position |  |  |  |  | di | down |  |  | in167
In168_Strn_thr_up_pos | sternthruster;up;position | Hyd_sternt_position_up_DI | hydraulic |  | sternthruster |  |  |  | position |  |  |  |  | di | up |  |  | in168
In169_Mandrell_lock | mandrel;lock | Hyd_mandrel_lock_DI | hydraulic | mandrel | [6 empty] | lock |  |  | di |  |  |  | in169
In170_Pressure_filter_main_eng | pressure;filter;mainengine | ME_filter_pressure_DI | mainengine | filter |  |  |  |  | pressure |  |  |  |  | di |  |  |  | in170
In171_Suction_valve_main_eng | suction;valve;mainengine | ME_suctionVlv_DI | mainengine | valve |  | suction | [7 empty] | di |  |  |  | in171
In172_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in172
In173_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in173
In174_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in174
In175_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in175
In176_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in176
In177_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in177
In178_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in178
In179_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in179
In180_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in180
In181_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in181
In182_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in182
In183_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in183
In184_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in184
In185_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in185
In186_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in186
In187_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in187
In188_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in188
In189_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in189
In190_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in190
In191_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in191
In192_SPARE | spare | Spare_DI | spare | [10 empty] | di |  |  |  | in192
Out1_Jib_furler_reef | jib;furler;reef | Hyd_jibFurler_reef_DO | hydraulic | furler |  | jib |  |  |  |  | reef |  |  | do |  |  |  | out1
Out2_Sb_aft_haly_winch_hi_sp | starboard;aftward;halyard;winch;high;speed | Hyd_halyWinch_high_sbAft_speed_DO | hydraulic | halyard;winch |  |  | high | starboard;aftward | speed |  |  |  |  | do |  |  |  | out2
Out3_Sb_aft_haly_winch_lo_sp | starboard;aftward;halyard;winch;low;speed | Hyd_halyWinch_low_sbAft_speed_DO | hydraulic | halyard;winch |  |  | low | starboard;aftward | speed |  |  |  |  | do |  |  |  | out3
Out4_Bowthruster_stbd | bowthruster;starboard | Hyd_bowt_sb_DO | hydraulic |  | bowthruster |  |  | starboard | [5 empty] | do |  |  |  | out4
Out5_Bowthruster_port | bowthruster;port | Hyd_bowt_pt_DO | hydraulic |  | bowthruster |  |  | port | [5 empty] | do |  |  |  | out5
Out6_Boomvang_down | boomvang;down | dn_DO | [11 empty] | do | down |  | boomvang | out6
Out7_Boomvang_up | boomvang;up | up_DO | [11 empty] | do | up |  | boomvang | out7
Out8_Jib_haly_trim_ten | jib;halyard;trim;tense | Hyd_jibHaly_ten_DO | hydraulic | halyard |  | jib |  |  |  |  | tense |  |  | do |  |  | trim | out8
Out9_Jib_haly_trim_rel | jib;halyard;trim;release | Hyd_jibHaly_rel_DO | hydraulic | halyard |  | jib |  |  |  |  | release |  |  | do |  |  | trim | out9
Out10_Sb_jib_car_puller_FWD | starboard;jib;car;puller;forward | Hyd_jibCar_sbFwd_DO | hydraulic | car |  | jib |  | starboard;forward | [5 empty] | do |  |  | puller | out10
Out11_Sb_jib_car_puller_AFT | starboard;jib;car;puller;aftward | Hyd_jibCar_sbAft_DO | hydraulic | car |  | jib |  | starboard;aftward | [5 empty] | do |  |  | puller | out11
Out12_Boom_outhaul_ten | boom;outhaul;tense | Hyd_boomOuthaul_ten_DO | hydraulic | boom;outhaul | [6 empty] | tense |  |  | do |  |  |  | out12
Out13_Boom_outhaul_rel | boom;outhaul;release | Hyd_boomOuthaul_rel_DO | hydraulic | boom;outhaul | [6 empty] | release |  |  | do |  |  |  | out13
Out14_Bowthruster_up | bowthruster;up | Hyd_bowt_up_DO | hydraulic |  | bowthruster | [8 empty] | do | up |  |  | out14
Out15_Bowthruster_down | bowthruster;down | Hyd_bowt_dn_DO | hydraulic |  | bowthruster | [8 empty] | do | down |  |  | out15
Out16_Bowthruster_down_lamp | bowthruster;down;indicator | Hyd_bowt_dn_ind_DO | hydraulic |  | bowthruster | [6 empty] | indicator |  | do | down |  |  | out16
Out17_Bowthruster_up_lamp | bowthruster;up;indicator | Hyd_bowt_up_ind_DO | hydraulic |  | bowthruster | [6 empty] | indicator |  | do | up |  |  | out17
Out18_Solenoid_DC2 | solenoid;dc2 | Dc2_solenoid_DO | dc2 | solenoid | [9 empty] | do |  |  |  | out18
Out19_Unload_DC2 | unload;dc2 | Dc2_unload_DO | dc2 | [7 empty] | unload |  |  | do |  |  |  | out19
Out20_Anch_swingarm_sb_out | anchor;arm;starboard;out | Hyd_anchorArm_sb_out_DO | hydraulic | arm |  | anchor |  | starboard | [5 empty] | do | out |  |  | out20
Out21_Anch_swingarm_sb_in | anchor;arm;starboard;in | Hyd_anchorArm_sb_in_DO | hydraulic | arm |  | anchor |  | starboard | [5 empty] | do | in |  |  | out21
Out22_Anch_windlass_out | anchor;windlass;out | Hyd_anchorWindlass_out_DO | hydraulic | windlass |  | anchor | [7 empty] | do | out |  |  | out22
Out23_Anch_windlass_in | anchor;windlass;in | Hyd_anchorWindlass_in_DO | hydraulic | windlass |  | anchor | [7 empty] | do | in |  |  | out23
Out24_Sb_haly_winch_hi_sp | starboard;halyard;winch;high;speed | Hyd_halyWinch_high_sb_speed_DO | hydraulic | halyard;winch |  |  | high | starboard | speed |  |  |  |  | do |  |  |  | out24
Out25_Sb_haly_winch_lo_sp | starboard;halyard;winch;low;speed | Hyd_halyWinch_low_sb_speed_DO | hydraulic | halyard;winch |  |  | low | starboard | speed |  |  |  |  | do |  |  |  | out25
Out26_Dingy_winch_out | dingy;winch;out | Hyd_dingyWinch_out_DO | hydraulic | winch |  | dingy | [7 empty] | do | out |  |  | out26
Out27_Dingy_winch_in | dingy;winch;in | Hyd_dingyWinch_in_DO | hydraulic | winch |  | dingy | [7 empty] | do | in |  |  | out27
Out28_Dingy_garage_close | dingy;garage;close | Hyd_dingyGarage_close_DO | hydraulic |  |  | dingy;garage |  |  |  |  | close |  |  | do |  |  |  | out28
Out29_Dingy_garage_open | dingy;garage;open | Hyd_dingyGarage_open_DO | hydraulic |  |  | dingy;garage | [7 empty] | do | open |  |  | out29
Out30_Chair_rest_PT_valve1 | chair;rest;port;valve1 | Hyd_vlv1_pt_DO | hydraulic | valve1 |  |  |  | port | [5 empty] | do |  |  | chair;rest | out30
Out31_Chair_rest_PT_valve2 | chair;rest;port;valve2 | Hyd_vlv2_pt_DO | hydraulic | valve2 |  |  |  | port | [5 empty] | do |  |  | chair;rest | out31
Out32_Mainsheet_2sp_valve | mainsheet;fast;valve | Hyd_mainsheetVlv_fast_DO | hydraulic | valve |  | mainsheet | fast | [6 empty] | do |  |  |  | out32
Out33_Primary_winch_sb_hi_sp | primary;winch;starboard;high;speed | Hyd_primWinch_high_sb_speed_DO | hydraulic | winch |  | primary | high | starboard | speed |  |  |  |  | do |  |  |  | out33
Out34_Primary_winch_sb_lo_sp | primary;winch;starboard;low;speed | Hyd_primWinch_low_sb_speed_DO | hydraulic | winch |  | primary | low | starboard | speed |  |  |  |  | do |  |  |  | out34
Out35_Backstay_ten | backstay;tense | Hyd_backstay_ten_DO | hydraulic | backstay | [6 empty] | tense |  |  | do |  |  |  | out35
Out36_Backstay_rel | backstay;release | Hyd_backstay_rel_DO | hydraulic | backstay | [6 empty] | release |  |  | do |  |  |  | out36
Out37_Stern_thruster_lamp_dn | sternthruster;indicator;down | Hyd_sternt_dn_ind_DO | hydraulic |  | sternthruster | [6 empty] | indicator |  | do | down |  |  | out37
Out38_Stern_thruster_lamp_up | sternthruster;indicator;up | Hyd_sternt_up_ind_DO | hydraulic |  | sternthruster | [6 empty] | indicator |  | do | up |  |  | out38
Out39_Unloading_valve_gen1 | unloading;valve;generator1 | Hyd_vlvGen1_DO | hydraulic | valve;generator1 | [9 empty] | do |  |  | unloading | out39
Out40_Unload_DC1 | unload;dc1 | Dc1_unload_DO | dc1 | [7 empty] | unload |  |  | do |  |  |  | out40
Out41_Mainsheet_winch_hi_speed | mainsheet;winch;high;speed | Hyd_mainsheetWinch_high_speed_DO | hydraulic | winch |  | mainsheet | high |  | speed |  |  |  |  | do |  |  |  | out41
Out42_Mainsheet_winch_lo_speed | mainsheet;winch;low;speed | Hyd_mainsheetWinch_low_speed_DO | hydraulic | winch |  | mainsheet | low |  | speed |  |  |  |  | do |  |  |  | out42
Out43_Gen1_clutch | generator1;pto | Hyd_gen1Pto_DO | hydraulic | generator1;pto | [9 empty] | do |  |  |  | out43
Out44_Solenoid_DC1 | solenoid;dc1 | Dc1_solenoid_DO | dc1 | solenoid | [9 empty] | do |  |  |  | out44
Out45_SPARE | spare | Spare_DO | spare | [10 empty] | do |  |  |  | out45
Out46_Mainsheet_traveller_sb | mainsheet;traveller;starboard | Hyd_mainsheetTraveller_sb_DO | hydraulic | traveller |  | mainsheet |  | starboard | [5 empty] | do |  |  |  | out46
Out47_Mainsheet_traveller_pt | mainsheet;traveller;port | Hyd_mainsheetTraveller_pt_DO | hydraulic | traveller |  | mainsheet |  | port | [5 empty] | do |  |  |  | out47
Out48_Main_halyard_up | main;halyard;up | Hyd_mainHaly_up_DO | hydraulic | halyard |  | main | [7 empty] | do | up |  |  | out48
Out49_Main_halyard_dn | main;halyard;down | Hyd_mainHaly_dn_DO | hydraulic | halyard |  | main | [7 empty] | do | down |  |  | out49
Out50_PTO_ON_Gen1_ind_lt | pto;on;generator1;indicator;light | Hyd_ptoGen1Light_on_ind_DO | hydraulic | pto;generator1;light | [7 empty] | indicator |  | do | on |  |  | out50
Out51_Jib_furler_set | jib;furler;set | Hyd_jibFurler_set_DO | hydraulic | furler |  | jib |  |  |  |  | set |  |  | do |  |  |  | out51
Out52_Primary_winch_pt_hi_sp | primary;winch;port;high;speed | Hyd_primWinch_high_pt_speed_DO | hydraulic | winch |  | primary | high | port | speed |  |  |  |  | do |  |  |  | out52
Out53_Primary_winch_pt_lo_sp | primary;winch;port;low;speed | Hyd_primWinch_low_pt_speed_DO | hydraulic | winch |  | primary | low | port | speed |  |  |  |  | do |  |  |  | out53
Out54_quick_release_v1 | quick;release;v1 | rel_DO | [8 empty] | release |  |  | do |  |  | quick;v1 | out54
Out55_quick_release_v2 | quick;release;v2 | rel_DO | [8 empty] | release |  |  | do |  |  | quick;v2 | out55
Out56_General_alarm | general;alarm | alrm_DO | [10 empty] | alarm | do |  |  | general | out56
Out57_Cunningham_ten | cunningham;tense | Hyd_cunningham_ten_DO | hydraulic | cunningham | [6 empty] | tense |  |  | do |  |  |  | out57
Out58_Cunningham_rel | cunningham;release | Hyd_cunningham_rel_DO | hydraulic | cunningham | [6 empty] | release |  |  | do |  |  |  | out58
Out59_Inner_forestay_ten | innerforestay;tense | Hyd_innerFstay_ten_DO | hydraulic |  | innerforestay | [5 empty] | tense |  |  | do |  |  |  | out59
Out60_Inner_forestay_rel | innerforestay;release | Hyd_innerFstay_rel_DO | hydraulic |  | innerforestay | [5 empty] | release |  |  | do |  |  |  | out60
Out61_Pt_aft_haly_winch_hi_sp | port;aftward;halyard;winch;high;speed | Hyd_halyWinch_high_ptAft_speed_DO | hydraulic | halyard;winch |  |  | high | port;aftward | speed |  |  |  |  | do |  |  |  | out61
Out62_Pt_aft_haly_winch_lo_sp | port;aftward;halyard;winch;low;speed | Hyd_halyWinch_low_ptAft_speed_DO | hydraulic | halyard;winch |  |  | low | port;aftward | speed |  |  |  |  | do |  |  |  | out62
Out63_Pt_haly_winch_hi_sp | port;halyard;winch;high;speed | Hyd_halyWinch_high_pt_speed_DO | hydraulic | halyard;winch |  |  | high | port | speed |  |  |  |  | do |  |  |  | out63
Out64_Pt_haly_winch_lo_sp | port;halyard;winch;low;speed | Hyd_halyWinch_low_pt_speed_DO | hydraulic | halyard;winch |  |  | low | port | speed |  |  |  |  | do |  |  |  | out64
Out65_Code0_reef | code0;reef | Hyd_code0_reef_DO | hydraulic |  |  | code0 |  |  |  |  | reef |  |  | do |  |  |  | out65
Out66_Code0_set | code0;set | Hyd_code0_set_DO | hydraulic |  |  | code0 |  |  |  |  | set |  |  | do |  |  |  | out66
Out67_FWD_mooring_winch_CW | forward;mooring;winch;clockwise | Hyd_mooringWinch_fwd_cw_DO | hydraulic | winch |  | mooring |  | forward |  |  | clockwise |  |  | do |  |  |  | out67
Out68_FWD_mooring_winch_CCW | forward;mooring;winch;counterclockwise | Hyd_mooringWinch_fwd_ccw_DO | hydraulic | winch |  | mooring |  | forward |  |  | counterclockwise |  |  | do |  |  |  | out68
Out69_Unloading_valve_main_eng | unloading;valve;mainengine | ME_vlv_DO | mainengine | valve | [9 empty] | do |  |  | unloading | out69
Out70_Main_halyard_hi_speed | main;halyard;high;speed | Hyd_mainHaly_high_speed_DO | hydraulic | halyard |  | main | high |  | speed |  |  |  |  | do |  |  |  | out70
Out71_Boom_furler_hoist | boom;furler;hoist | Hyd_boomFurler_hoist_DO | hydraulic | boom;furler | [6 empty] | hoist |  |  | do |  |  |  | out71
Out72_Boom_furler_furle | boom;furler;furle | Hyd_boomFurler_DO | hydraulic | boom;furler | [9 empty] | do |  |  | furle | out72
Out73_Pt_sec_winch_hi_sp | port;secondary;winch;high;speed | Hyd_secWinch_high_pt_speed_DO | hydraulic | winch |  | secondary | high | port | speed |  |  |  |  | do |  |  |  | out73
Out74_Pt_sec_winch_lo_sp | port;secondary;winch;low;speed | Hyd_secWinch_low_pt_speed_DO | hydraulic | winch |  | secondary | low | port | speed |  |  |  |  | do |  |  |  | out74
Out75_Mainsheet_captive_in | mainsheet;captive;in | Hyd_mainsheetCaptv_in_DO | hydraulic |  |  | mainsheet;captive | [7 empty] | do | in |  |  | out75
Out76_Mainsheet_captive_out | mainsheet;captive;out | Hyd_mainsheetCaptv_out_DO | hydraulic |  |  | mainsheet;captive | [7 empty] | do | out |  |  | out76
Out77_Sb_sec_winch_hi_sp | starboard;secondary;winch;high;speed | Hyd_secWinch_high_sb_speed_DO | hydraulic | winch |  | secondary | high | starboard | speed |  |  |  |  | do |  |  |  | out77
Out78_Sb_sec_winch_lo_sp | starboard;secondary;winch;low;speed | Hyd_secWinch_low_sb_speed_DO | hydraulic | winch |  | secondary | low | starboard | speed |  |  |  |  | do |  |  |  | out78
Out79_Cooling_valve | cooling;valve | ME_coolingVlv_DO | mainengine | valve |  | cooling | [7 empty] | do |  |  |  | out79
Out80_Electrical_power_reduced | electrical;power;reduced | power_DO | [6 empty] | power |  |  |  |  | do |  |  | electrical;reduced | out80
Out81_Thrust_activated_lamp | thrust;activated;indicator | ind_DO | [9 empty] | indicator |  | do |  |  | thrust;activated | out81
Out82_Unloading_valve_gen2 | unloading;valve;generator2 | Hyd_vlvGen2_DO | hydraulic | valve;generator2 | [9 empty] | do |  |  | unloading | out82
Out83_PTO_ON_Gen2_ind_lt | pto;on;generator2;indicator;light | Hyd_ptoGen2Light_on_ind_DO | hydraulic | pto;generator2;light | [7 empty] | indicator |  | do | on |  |  | out83
Out84_Diesel_gen2_clutch_relay | diesel;generator2;pto;relay | GenPt_dieselGen2Pto_DO | genport | generator2;pto |  | diesel | [7 empty] | do |  |  | relay | out84
Out85_Sealing_garage_door | sealing;garage;door | Dc_garageSealingDoor_DO | dc | sealing;door |  | garage | [7 empty] | do |  |  |  | out85
Out86_Chair_rest_up_PTandSB | chair;rest;up;ptandsb | up_DO | [11 empty] | do | up |  | chair;rest;ptandsb | out86
Out87_Chair_rest_dn_PTandSB | chair;rest;down;ptandsb | dn_DO | [11 empty] | do | down |  | chair;rest;ptandsb | out87
Out88_Stern_thruster_up | sternthruster;up | Hyd_sternt_up_DO | hydraulic |  | sternthruster | [8 empty] | do | up |  |  | out88
Out89_Stern_thruster_dn | sternthruster;down | Hyd_sternt_dn_DO | hydraulic |  | sternthruster | [8 empty] | do | down |  |  | out89
Out90_Stern_thruster_stbd | sternthruster;starboard | Hyd_sternt_sb_DO | hydraulic |  | sternthruster |  |  | starboard | [5 empty] | do |  |  |  | out90
Out91_Stern_thruster_port | sternthruster;port | Hyd_sternt_pt_DO | hydraulic |  | sternthruster |  |  | port | [5 empty] | do |  |  |  | out91
Out92_Main_flatten | main;flatten | Hyd_main_flatten_DO | hydraulic |  |  | main |  |  |  |  | flatten |  |  | do |  |  |  | out92
Out93_Silent_furle | silent;furle | DO | [11 empty] | do |  |  | silent;furle | out93
Out94_Bow_thr_slow_start_sb | bowthruster;slow;start;starboard | Hyd_bowt_slow_sb_start_DO | hydraulic |  | bowthruster |  | slow | starboard |  |  | start |  |  | do |  |  |  | out94
Out95_Bow_thr_slow_start_pt | bowthruster;slow;start;port | Hyd_bowt_slow_pt_start_DO | hydraulic |  | bowthruster |  | slow | port |  |  | start |  |  | do |  |  |  | out95
Out96_Boom_outhaul_lock_unlock | boom;outhaul;lock;unlock | Hyd_boomOuthaul_lockUnlock_DO | hydraulic | boom;outhaul | [6 empty] | lock;unlock |  |  | do |  |  |  | out96